## Nextera XT (WGS)
Reference: Nextera XT manual and customer feedback
Performed 2016-10-24
| Reaction volume reduction: | 8
| Reagent use reduction: | 8.2286 |  |  | 10
Stage | Action | Reagent | Abbr | Manual (µL) | Echo (µL) | Echo 55X Fluid Type | Echo 525 Fluid Type | Notes
Tagmentation | Defrost ATM, TD, and DNA from -20 C to ice, mix and spin
| Transfer | Tagmentation DNA buffer | TD | 10 | 0.5 | BP2 | GP
|  | Lysis buffer |  | 5 | 0.25 | SP2
| Thermocyle | 50C for 60 min | [5 empty] | Lysis
|  | 70C for 15 min | [5 empty] | Stop the protease
| Transfer | genomic DNA (0.2-2.5 ng/µL) | gDNA | - | - | BP2/B (LDV) | BP | Check cell dispension
|  | Amplicon Tagment Mix | ATM | 5 | 0.25 | GP2 | GPSB
Seal and centrifuge 280g, 20 C, 1 min
| Thermocycle | RT or 55 C for 5/10 min* | [5 empty] | *Customer protocol variants
Hold at 10 C* immediately proceed to next step
Neutralization | Transfer | Neutralize Tagment buffer | NT | 5 | 0.25 | SP2 | SPHigh
Seal and centrifuge 280g, 20 C, 1 min
Incubate 5 min at RT
Adapters and Barcode additions | Defrost NPM, PPC, and barcodes from -20 C to RT, mix and spin
| Transfer | Master Mix: |  | 25 | 5 | SP2 | SPHigh
|  | Nextera PCR Master Mix | NPM | 15 | 1.875 | SP2/CP | GPSB | Goal here is to actually dilute samples 1:5 to dilute tagmentation enzyme why would you dilute the tagmentation enzyme here? | Premixed and added with multichannel
|  | Water | H2O | 0 | 1.875
|  | Index 1 (N501-N508) | i1 | 5 | 0.625 | BP2/B (LDV) | BP | took ~40 min to add both primers due to LDV resurvey restriction, if PBDT is on, open this range
|  | Index 2 (N701-712) | i2 | 5 | 0.625 | BP2/B (LDV) | BP
|  | tagmented DNA | tag-DNA | 25 | 1.25 |  |  | *Not actually transferred in Echo protocol, already present
| Seal and centrifuge 280g, 20 C, 1 min |  | Total | 50 | 6.25
| Thermocycle | 73 C for 3 min
95 C for 30 s
18 x:
95 C for 10 s
55 C for 30 s
72 C for 30 s
72 C for 5 min
Hold at 10 C
Pool the library
Bead Clean-Up/Size select | Defrost RSB from -20 C to RT, and AMPure XP beads 4 C to RT
centrifuge samples 280g, 20 C, 1 min
Resuspend AMPure XP beads
|  | AMPure XP beads | SPRI beads | 30 | 5 | GP2* | GPSA* | *not typically transferred with Echo, recommended with reduced volumes above
Pipette up and down 10x
Incubate 5 min at RT
Set on magnet for 2 min
Remove and discard supernatant
| Add ethanol | Ethanol | EtOH | 200 | NA
Set on magnet for 30 s
Remove and discard supernatant
| Add ethanol | Ethanol | EtOH | 200 | NA
Set on magnet for 30 s
Remove and discard supernatant
Allow to air-dry for 15 min to remove EtOH
Remove from magnetic stand
| Elute | Resuspension Buffer | RSB | 32.5 | 10 (20 for Echo 525) | BP2* | BP | *not transferred with Echo, recommended with reduced volumes above
Shake at 1800 rpm for 2 min, or 10x pipette mix
Incubate 2 min at RT
| Set on magnet for 2 min and collect |  |  | 30 | 8 | BP2* | BP | *not transferred with Echo, recommended with reduced volumes above
Normalize (optional) | Defrost LNA1, LNB1, LNW1 to RT, mix
| Combine | Library Normalization Additives 1 | LNA1 | 4.4 mL | NA
|  | Library Normalization Beads 1 | LNB1 | 0.8 mL | NA
| Transfer |  | LNA/LNB mix | 45 | NA
Shake at 1800 rpm for 30 min
Set on magnet for 2 min
Remove and discard supernatant
| Transfer | Library Normalization Wash 1 | LNW1 | 45 | NA
Shake at 1800 rpm for 5 min
Set on magnet for 2 min
Remove and discard supernatant
| Transfer | Library Normalization Wash 1 | LNW1 | 45 | NA
Shake at 1800 rpm for 5 min
Set on magnet for 2 min
Remove and discard supernatant
| Transfer |  | 0.1 N NaOH | 30 | NA
Incubate 2 min at RT
Set on magnet for 2 min and collect
| Combine | Library Normalization Storage Buffer 1 | LNS1 | 30 | NA
|  | Sample (supernatant) |  | 30 | NA
Pool | Pool | Samples in LNS1 |  | 5 | 0.5 | B (LDV) | BP

## MDA
MDA Protocol
|  |  | Reduction: | 10
Stage | Action | Reagent | Manual (µL) | Fluid Type (525) | Plate Settings
Lysis Buffer | Transfer* | KOH-DTT lysis buffer | 3.5 | BP | 384PP_AQ_SP
Seal and pulse spin plate
Flow Sorting | Sort cells into plate
| Thermocycle | Incubate 65C for 10min
Incubate on ice ~2min
Seal and pulse spin plate
Whole Genome Amplification | Transfer | Master Mix: | 45 | GPSA | 6RES_AQ_GPSB2
|  | Neutrialization buffer | 1.5
|  | Phi29 10X reaction buffer | 5 | SP
|  | dNTP solution (25 mM) | 0.5 | BP
|  | hexamers (1mM) | 2.5 | BP
|  | Water | 36 | BP
|  | Phi29 enzyme | 1 | GPSA
|  | Total | 45
| Seal, pulse spin plate, vortex to mix, pulse spin plate | Total | 48.5
| Thermocycle | 30 °C for 3h
65 °C for 3 min.
Stage | Action | Reagent | Manual (µL) | Echo (µL) | Fluid Type (525) | Plate Settings
Lysis Buffer | Transfer* | KOH-DTT lysis buffer | 5 | 0.3 | BP | 384PP_AQ_SP | 0.3
Seal and pulse spin plate
Flow Sorting | Sort cells into plate
| Thermocycle | Incubate 65C for 10min
Incubate on ice ~2min
Seal and pulse spin plate
Whole Genome Amplification | Transfer | Master Mix: | 45 | 2.7 | GPSA | 6RES_AQ_GPSB2
|  | Neutrialization buffer | 1.5 | 0.09
|  | Phi29 10X reaction buffer | 5 | 0.3 | SP
|  | dNTP solution (25 mM) | 0.5 | 0.03 | BP
|  | hexamers (1mM) | 2.5 | 0.15 | BP
|  | Water | 34.5 | 2.07 | BP
|  | Phi29 enzyme | 1 | 0.06 | GPSA
|  | Total | 45 | 2.7
| Seal, pulse spin plate, vortex to mix, pulse spin plate | Total | 50 | 3
| Thermocycle | 30 °C for 3h
65 °C for 3 min.
ExoProStar | Transfer | Enzyme Mix 1:1 (SAP:ExoI) ratio |  | 0.3 |  | 384PP_Plus_AQ_GP (likely 6RES_AQ_BP)
Seal, vortex, and pulse spin plate
| Thermocycle | 37 C for 10 min
80 C for 10 min

## NEB Next (hidden)
Reference: NEB Next manual
|  |  |  | Reduction: | 10
Stage | Action | Reagent | Abbr | Manual (µL) | Echo (µL) | Fluid Type (55X) | Fluid Type (525) | Notes
DNA Fragmentation | Shear 500 ng intact gDNA with the Covaris E210 |  |  | NA | NA
*Optional-size select
End Repair | Transfer | DNA fragments | gDNA | 8.5 | 0.85 | BP2 | BP
|  | NEBNext End Repair Reaction Buffer (10X) | Buffer | 10 | 1 | SP2 | SP
|  | NEBNext End Repair Enzyme Mix | Enzyme | 5 | 0.5 | BP2/GP2 | GPSA
| Thermocycle | Incubate 30 min at 20 C
Clean up libraries with SPRI | Defrost NE from -20 C to RT?, and AMPure XP beads 4 C to RT
centrifuge samples 1000g, 20 C, 1 min
Resuspend AMPure XP beads
|  | AMPure XP beads | SPRI beads | 42.3 | 4.23 | GP2* | GPSA* | *Not recommended with Echo
Pipette up and down 10x
Incubate 5 min at RT
Set on magnet for 2 min
Remove and discard supernatant
| Add ethanol | Ethanol | EtOH | 200
Set on magnet for 30 s
Remove and discard supernatant
| Add ethanol | Ethanol | EtOH | 200
Set on magnet for 30 s
Remove and discard supernatant
Allow to air-dry for 15 min to remove EtOH
Remove from magnetic stand
| Elute | Resuspension Buffer | NE | 42 | 10** |  |  | *Not recommended for >10 samples; **Not with Echo, but for Echo-based protocol
Shake at 1800 rpm for 2 min, or 10x pipette mix
Set on magnet for 30 s and collect
Poly A Adenylation | Transfer | repaired DNA | rep-DNA | 42 | 4.2 | B | BP
|  | NEBNext dA-Tailing Reaction Buffer (10X) | TRB | 5 | 0.5 | SP2 | SPHigh
|  | Klenow exo- | Exo | 3 | 0.3 | BP2/GP2 | GPSA
Incubate 30 min at 37 C
Clean up libraries with SPRI | Defrost NE from -20 C to RT?, and AMPure XP beads 4 C to RT
centrifuge samples 1000g, 20 C, 1 min
Resuspend AMPure XP beads
|  | AMPure XP beads | SPRI beads | 90 | 9 | GP2* | GPSA* | *Not recommended with Echo
Pipette up and down 10x
Incubate 5 min at RT
Set on magnet for 2 min
Remove and discard supernatant
| Add ethanol | Ethanol | EtOH | 200
Set on magnet for 30 s
Remove and discard supernatant
| Add ethanol | Ethanol | EtOH | 200
Set on magnet for 30 s
Remove and discard supernatant
Allow to air-dry for 15 min to remove EtOH
Remove from magnetic stand
| Elute | Elution Buffer | NE | 34 | 10** |  |  | *Not recommended for >10 samples; **Not with Echo, but for Echo-based protocol
Shake at 1800 rpm for 2 min, or 10x pipette mix
Set on magnet for 30 s and collect
Adaptor Ligation | Transfer | DNA fragments |  | 34 | 3.4 | B | BP
|  | Master Mix: |  | 16 | 1.6 | SP2 | SPHigh
|  | Quick Ligation Reaction Buffer (5X) | LRB | 10 | 1 | SP2 | SP
|  | Diluted Bio_index_N (15 µM) | Index | 1 | 0.1 | B | BP
|  | Quick T4 DNA Ligase | Ligase | 5 | 0.5 | BP2/GP2 | GPSA
| Incubate 30 min at 25 C |  | Total | 50 | 5
Clean up libraries with SPRI | Defrost NE from -20 C to RT?, and AMPure XP beads 4 C to RT
centrifuge samples 1000g, 20 C, 1 min
Resuspend AMPure XP beads
|  | AMPure XP beads | SPRI beads | 118.8 | 11.88 | GP2* | GPSA* | *Not recommended with Echo
Pipette up and down 10x
Incubate 5 min at RT
Set on magnet for 2 min
Remove and discard supernatant
| Add ethanol | Ethanol | EtOH | 200
Set on magnet for 30 s
Remove and discard supernatant
| Add ethanol | Ethanol | EtOH | 200
Set on magnet for 30 s
Remove and discard supernatant
Allow to air-dry for 15 min to remove EtOH
Remove from magnetic stand
| Elute | Elution Buffer | NE | 34 | 10** |  |  | *Not recommended for >10 samples; **Not with Echo, but for Echo-based protocol
Shake at 1800 rpm for 2 min, or 10x pipette mix
Set on magnet for 30 s and collect
Pool | Pool |  |  | 5 | 0.5 | B (LDV) | BP

## MDA-KAPA HyperPlus
Reference: KAPA HyperPlus manual and customer feedback (Kapa product #KK8504)
|  |  |  | Reduction: | 10
Stage | Action | Reagent | Abbr | Manual (µL) | Echo (µL) | Fluid Type (525) | Notes
Starting Material | Defrost [reagents] from -20 C to ice, mix and spin |  |  | 0.2
7 ng
|  |  | Total | 50 | 5
Enzymatic Fragmentation |  | DNA | DNA | 35 | 3.3 | 384PP_Plus_AQ_SP or 6RES_AQ_GPSB2
|  | Kapa Frag Buffer (can be premixed with KFE) | KFB | 5 | 0.5
|  | Kapa Frag Enzyme (can be premixed with KFB) | KFE | 10 | 1
| Seal, vortex, and centrifuge 1000g, 4 C, 1 min |  | H2O |  | 0.2
*****KEEP destination plate on ice after dispense*****
| Thermocycle: precooled to 4C, non-heated lid, Set Vt=5ul | Precool 4C, infinity |  |  |  |  | Program:
RT (25C) for 15 min
Hold at 4 C* or immediately proceed to next step
End Repair and A-tailing | Transfer | gDNA + enzymes | Samples | 50 | 5 |  | *Not actually transferred, already present
|  | End Repair & A-Tailing Buffer* | ERATB | 7 | 0.7 | 384PP_Plus_AQ_SP or 6RES_AQ_GPSB2
|  | End Repair & A-Tailing Enzyme Mix* | ERATE | 3 | 0.3
| Seal, vortex, and centrifuge 1000g, 4 C, 1 min |  | Total | 60 | 6 |  | Program:
| Thermocycle: heated lid, ~75C, Vt=6ul | 65 C for 30 min
Hold at 4 C, if immediately proceeding to next step, cool only to 20 C
Adapter Ligation | Dilute adapter stocks to the appropriate concentration
| Transfer | End repair and A-tailing product | Samples | 60 | 6 |  | *Not actually transferred, already present
|  | Adapter Stock* (one concentration per sample): |  |  |  |  | Adaptor conc.
|  | (10 µM Stock annealed BC) | adapter | 5 | 0.75 | 384PP_Plus_AQ_SP or 6RES_AQ_GPSB2 | (10.75ul)(x)=(0.75ul)(10uM)
|  | PCR grade water |  | 5 |  |  | x=~698nM
|  | Ligation Buffer | LB | 30 | 3 |  |  | #REF!
|  | DNA ligase | DL | 10 | 1
| Seal, vortex, and centrifuge 280g, 4 C, 1 min |  | Total | 105 | 10.75 |  | Program:
| Thermocycle: lid off, Vt=11ul | 20 C for 15 min
Hold at 4 C, ON ***BEST if left O/N***
Bead Clean-Up/Size select | For trouble shooting: Purify samples individually (0.8X, Q.S. ~20ul thus ~16ul beads) and assay their distributions, elute in ~10-12ul
For real experiments, pool all samples together, purify 0.8X ampure beads, elute in ~22ul H2O
follow Kapa Hyper prep kit post-ligation cleanup instructions
Library Amplification | Defrost reagents |  |  |  | Individual samples/Troubleshooting
| Transfer | 2X KAPA HiFi HotStart ReadyMix | MM | 25 | 12.5
|  | 10X KAPA Library Amplification Primer Mix (or other MM + nprimers (0.5-4 µM) | APM | 5 | 2.5
|  | Adapter-ligated library | Samples | 20 | 10
| Seal, vortex, and centrifuge 280g, 4 C, 1 min |  | Total | 50 | 25
| Thermocycle | 98 C for 45 s (initial denaturation) |  |  |  |  | Program:
11, 15, or 19 cycles:
98 for 15 s
60 C for 30 s
72 C for 30 s
72 C for 1 min
Hold at 4 C
Store the plate/tube(s) at 4°C or -20°C for up to 72 hours, or proceed directly to Step 6: Postamplification Cleanup.
Bead Clean-Up/Size select
Resuspend AMPure XP beads
|  | AMPure XP beads 1:1 | Ampure beads | 50 | 25 | GPSA (not recommended)
Pipette up and down 10x
Incubate 5-15 min at RT
Set on magnet for 2 min
Remove and discard supernatant
| Add ethanol | Ethanol | EtOH | 200 |  | NA
Set on magnet for 30 s
Remove and discard supernatant
| Add ethanol | Ethanol | EtOH | 200 |  | NA
Set on magnet for 30 s
Remove and discard supernatant
Allow to air-dry for 3-5 min to remove EtOH; do not overdry
| Remove from magnetic stand | [5 empty] | *not transferred with Echo, recommended with reduced volumes above
| Elute | Elution Buffer (10 mM Tris-HCl, pH 8.0 – 8.5) | EB | TBD | 8-10* | NA
Shake at 1800 rpm for 2 min, or 10x pipette mix
| Incubate 2 min at RT | Tapestation quantification
Set on magnet for 2 min
Collect supernatant into new plate
Forward Oligos
DualBC_F1 | AATGATACGGCGACCACCGAGATCTACACAACGTGATACACTCTTTCCCTACACGACGCTCTTCCGATC*T |  | NextFlexForward Oligo + BC1 for dual barcoding
DualBC_F2 | AATGATACGGCGACCACCGAGATCTACACAAACATCGACACTCTTTCCCTACACGACGCTCTTCCGATC*T |  | NextFlexForward Oligo + BC2 for dual barcoding
DualBC_F3 | AATGATACGGCGACCACCGAGATCTACACATGCCTAAACACTCTTTCCCTACACGACGCTCTTCCGATC*T |  | NextFlexForward Oligo + BC3 for dual barcoding
DualBC_F4 | AATGATACGGCGACCACCGAGATCTACACAGTGGTCAACACTCTTTCCCTACACGACGCTCTTCCGATC*T |  | NextFlexForward Oligo + BC4 for dual barcoding
DualBC_F5 | AATGATACGGCGACCACCGAGATCTACACACCACTGTACACTCTTTCCCTACACGACGCTCTTCCGATC*T |  | NextFlexForward Oligo + BC5 for dual barcoding
DualBC_F6 | AATGATACGGCGACCACCGAGATCTACACACATTGGCACACTCTTTCCCTACACGACGCTCTTCCGATC*T |  | NextFlexForward Oligo + BC6 for dual barcoding
DualBC_F7 | AATGATACGGCGACCACCGAGATCTACACCAGATCTGACACTCTTTCCCTACACGACGCTCTTCCGATC*T |  | NextFlexForward Oligo + BC7 for dual barcoding
DualBC_F8 | AATGATACGGCGACCACCGAGATCTACACCATCAAGTACACTCTTTCCCTACACGACGCTCTTCCGATC*T |  | NextFlexForward Oligo + BC8 for dual barcoding
DualBC_F9 | AATGATACGGCGACCACCGAGATCTACACCGCTGATCACACTCTTTCCCTACACGACGCTCTTCCGATC*T |  | NextFlexForward Oligo + BC9 for dual barcoding
DualBC_F10 | AATGATACGGCGACCACCGAGATCTACACAGTACAAGACACTCTTTCCCTACACGACGCTCTTCCGATC*T |  | NextFlexForward Oligo + BC10 for dual barcoding
DualBC_F11 | AATGATACGGCGACCACCGAGATCTACACAACAACCAACACTCTTTCCCTACACGACGCTCTTCCGATC*T |  | NextFlexForward Oligo + BC11 for dual barcoding
DualBC_F12 | AATGATACGGCGACCACCGAGATCTACACAACCGAGAACACTCTTTCCCTACACGACGCTCTTCCGATC*T |  | NextFlexForward Oligo + BC12 for dual barcoding
DualBC_F13 | AATGATACGGCGACCACCGAGATCTACACAACGCTTAACACTCTTTCCCTACACGACGCTCTTCCGATC*T |  | NextFlexForward Oligo + BC13 for dual barcoding
DualBC_F14 | AATGATACGGCGACCACCGAGATCTACACAAGACGGAACACTCTTTCCCTACACGACGCTCTTCCGATC*T |  | NextFlexForward Oligo + BC14 for dual barcoding
DualBC_F15 | AATGATACGGCGACCACCGAGATCTACACAAGGTACAACACTCTTTCCCTACACGACGCTCTTCCGATC*T |  | NextFlexForward Oligo + BC15 for dual barcoding
DualBC_F16 | AATGATACGGCGACCACCGAGATCTACACACACAGAAACACTCTTTCCCTACACGACGCTCTTCCGATC*T |  | NextFlexForward Oligo + BC16 for dual barcoding
Reverse Oligos
NextFlex96R1 | /5Phos/GATCGGAAGAGCACACGTCTGAACTCCAGTCACAACGTGATATCTCGTATGCCGTCTTCTGCTTG
NextFlex96R2 | /5Phos/GATCGGAAGAGCACACGTCTGAACTCCAGTCACAAACATCGATCTCGTATGCCGTCTTCTGCTTG
NextFlex96R3 | /5phos/GATCGGAAGAGCACACGTCTGAACTCCAGTCACATGCCTAAATCTCGTATGCCGTCTTCTGCTTG
NextFlex96R4 | /5phos/GATCGGAAGAGCACACGTCTGAACTCCAGTCACAGTGGTCAATCTCGTATGCCGTCTTCTGCTTG
NextFlex96R5 | /5phos/GATCGGAAGAGCACACGTCTGAACTCCAGTCACACCACTGTATCTCGTATGCCGTCTTCTGCTTG
NextFlex96R6 | /5phos/GATCGGAAGAGCACACGTCTGAACTCCAGTCACACATTGGCATCTCGTATGCCGTCTTCTGCTTG
NextFlex96R7 | /5phos/GATCGGAAGAGCACACGTCTGAACTCCAGTCACCAGATCTGATCTCGTATGCCGTCTTCTGCTTG
NextFlex96R8 | /5phos/GATCGGAAGAGCACACGTCTGAACTCCAGTCACCATCAAGTATCTCGTATGCCGTCTTCTGCTTG
NextFlex96R9 | /5phos/GATCGGAAGAGCACACGTCTGAACTCCAGTCACCGCTGATCATCTCGTATGCCGTCTTCTGCTTG
NextFlex96R10 | /5phos/GATCGGAAGAGCACACGTCTGAACTCCAGTCACACAAGCTAATCTCGTATGCCGTCTTCTGCTTG
NextFlex96R11 | /5phos/GATCGGAAGAGCACACGTCTGAACTCCAGTCACCTGTAGCCATCTCGTATGCCGTCTTCTGCTTG
NextFlex96R12 | /5phos/GATCGGAAGAGCACACGTCTGAACTCCAGTCACAGTACAAGATCTCGTATGCCGTCTTCTGCTTG
NextFlex96R13 | /5phos/GATCGGAAGAGCACACGTCTGAACTCCAGTCACAACAACCAATCTCGTATGCCGTCTTCTGCTTG
NextFlex96R14 | /5phos/GATCGGAAGAGCACACGTCTGAACTCCAGTCACAACCGAGAATCTCGTATGCCGTCTTCTGCTTG
NextFlex96R15 | /5phos/GATCGGAAGAGCACACGTCTGAACTCCAGTCACAACGCTTAATCTCGTATGCCGTCTTCTGCTTG
NextFlex96R16 | /5phos/GATCGGAAGAGCACACGTCTGAACTCCAGTCACAAGACGGAATCTCGTATGCCGTCTTCTGCTTG
NextFlex96R17 | /5phos/GATCGGAAGAGCACACGTCTGAACTCCAGTCACAAGGTACAATCTCGTATGCCGTCTTCTGCTTG
NextFlex96R18 | /5phos/GATCGGAAGAGCACACGTCTGAACTCCAGTCACACACAGAAATCTCGTATGCCGTCTTCTGCTTG
NextFlex96R19 | /5phos/GATCGGAAGAGCACACGTCTGAACTCCAGTCACACAGCAGAATCTCGTATGCCGTCTTCTGCTTG
NextFlex96R20 | /5phos/GATCGGAAGAGCACACGTCTGAACTCCAGTCACACCTCCAAATCTCGTATGCCGTCTTCTGCTTG
NextFlex96R21 | /5phos/GATCGGAAGAGCACACGTCTGAACTCCAGTCACACGCTCGAATCTCGTATGCCGTCTTCTGCTTG
NextFlex96R22 | /5phos/GATCGGAAGAGCACACGTCTGAACTCCAGTCACACGTATCAATCTCGTATGCCGTCTTCTGCTTG
NextFlex96R23 | /5phos/GATCGGAAGAGCACACGTCTGAACTCCAGTCACACTATGCAATCTCGTATGCCGTCTTCTGCTTG
NextFlex96R24 | /5phos/GATCGGAAGAGCACACGTCTGAACTCCAGTCACAGAGTCAAATCTCGTATGCCGTCTTCTGCTTG
NextFlex96R25 | /5phos/GATCGGAAGAGCACACGTCTGAACTCCAGTCACAGATCGCAATCTCGTATGCCGTCTTCTGCTTG
NextFlex96R26 | /5phos/GATCGGAAGAGCACACGTCTGAACTCCAGTCACAGCAGGAAATCTCGTATGCCGTCTTCTGCTTG
NextFlex96R27 | /5phos/GATCGGAAGAGCACACGTCTGAACTCCAGTCACAGTCACTAATCTCGTATGCCGTCTTCTGCTTG
NextFlex96R28 | /5phos/GATCGGAAGAGCACACGTCTGAACTCCAGTCACATCCTGTAATCTCGTATGCCGTCTTCTGCTTG
NextFlex96R29 | /5phos/GATCGGAAGAGCACACGTCTGAACTCCAGTCACATTGAGGAATCTCGTATGCCGTCTTCTGCTTG
NextFlex96R30 | /5phos/GATCGGAAGAGCACACGTCTGAACTCCAGTCACCAACCACAATCTCGTATGCCGTCTTCTGCTTG
NextFlex96R31 | /5phos/GATCGGAAGAGCACACGTCTGAACTCCAGTCACGACTAGTAATCTCGTATGCCGTCTTCTGCTTG
NextFlex96R32 | /5phos/GATCGGAAGAGCACACGTCTGAACTCCAGTCACCAATGGAAATCTCGTATGCCGTCTTCTGCTTG
NextFlex96R33 | /5phos/GATCGGAAGAGCACACGTCTGAACTCCAGTCACCACTTCGAATCTCGTATGCCGTCTTCTGCTTG
NextFlex96R34 | /5phos/GATCGGAAGAGCACACGTCTGAACTCCAGTCACCAGCGTTAATCTCGTATGCCGTCTTCTGCTTG
NextFlex96R35 | /5phos/GATCGGAAGAGCACACGTCTGAACTCCAGTCACCATACCAAATCTCGTATGCCGTCTTCTGCTTG
NextFlex96R36 | /5phos/GATCGGAAGAGCACACGTCTGAACTCCAGTCACCCAGTTCAATCTCGTATGCCGTCTTCTGCTTG
NextFlex96R37 | /5phos/GATCGGAAGAGCACACGTCTGAACTCCAGTCACCCGAAGTAATCTCGTATGCCGTCTTCTGCTTG
NextFlex96R38 | /5phos/GATCGGAAGAGCACACGTCTGAACTCCAGTCACCCGTGAGAATCTCGTATGCCGTCTTCTGCTTG
NextFlex96R39 | /5phos/GATCGGAAGAGCACACGTCTGAACTCCAGTCACCCTCCTGAATCTCGTATGCCGTCTTCTGCTTG
NextFlex96R40 | /5phos/GATCGGAAGAGCACACGTCTGAACTCCAGTCACCGAACTTAATCTCGTATGCCGTCTTCTGCTTG
NextFlex96R41 | /5phos/GATCGGAAGAGCACACGTCTGAACTCCAGTCACCGACTGGAATCTCGTATGCCGTCTTCTGCTTG
NextFlex96R42 | /5phos/GATCGGAAGAGCACACGTCTGAACTCCAGTCACCGCATACAATCTCGTATGCCGTCTTCTGCTTG
NextFlex96R43 | /5phos/GATCGGAAGAGCACACGTCTGAACTCCAGTCACCTCAATGAATCTCGTATGCCGTCTTCTGCTTG
NextFlex96R44 | /5phos/GATCGGAAGAGCACACGTCTGAACTCCAGTCACCTGAGCCAATCTCGTATGCCGTCTTCTGCTTG
NextFlex96R45 | /5phos/GATCGGAAGAGCACACGTCTGAACTCCAGTCACCTGGCATAATCTCGTATGCCGTCTTCTGCTTG
NextFlex96R46 | /5phos/GATCGGAAGAGCACACGTCTGAACTCCAGTCACGAATCTGAATCTCGTATGCCGTCTTCTGCTTG
NextFlex96R47 | /5phos/GATCGGAAGAGCACACGTCTGAACTCCAGTCACCAAGACTAATCTCGTATGCCGTCTTCTGCTTG
NextFlex96R48 | /5phos/GATCGGAAGAGCACACGTCTGAACTCCAGTCACGAGCTGAAATCTCGTATGCCGTCTTCTGCTTG
NextFlex96R49 | /5phos/GATCGGAAGAGCACACGTCTGAACTCCAGTCACGATAGACAATCTCGTATGCCGTCTTCTGCTTG
NextFlex96R50 | /5phos/GATCGGAAGAGCACACGTCTGAACTCCAGTCACGCCACATAATCTCGTATGCCGTCTTCTGCTTG
NextFlex96R51 | /5phos/GATCGGAAGAGCACACGTCTGAACTCCAGTCACGCGAGTAAATCTCGTATGCCGTCTTCTGCTTG
NextFlex96R52 | /5phos/GATCGGAAGAGCACACGTCTGAACTCCAGTCACGCTAACGAATCTCGTATGCCGTCTTCTGCTTG
NextFlex96R53 | /5phos/GATCGGAAGAGCACACGTCTGAACTCCAGTCACGCTCGGTAATCTCGTATGCCGTCTTCTGCTTG
NextFlex96R54 | /5phos/GATCGGAAGAGCACACGTCTGAACTCCAGTCACGGAGAACAATCTCGTATGCCGTCTTCTGCTTG
NextFlex96R55 | /5phos/GATCGGAAGAGCACACGTCTGAACTCCAGTCACGGTGCGAAATCTCGTATGCCGTCTTCTGCTTG
NextFlex96R56 | /5phos/GATCGGAAGAGCACACGTCTGAACTCCAGTCACGTACGCAAATCTCGTATGCCGTCTTCTGCTTG
NextFlex96R57 | /5phos/GATCGGAAGAGCACACGTCTGAACTCCAGTCACGTCGTAGAATCTCGTATGCCGTCTTCTGCTTG
NextFlex96R58 | /5phos/GATCGGAAGAGCACACGTCTGAACTCCAGTCACGTCTGTCAATCTCGTATGCCGTCTTCTGCTTG
NextFlex96R59 | /5phos/GATCGGAAGAGCACACGTCTGAACTCCAGTCACGTGTTCTAATCTCGTATGCCGTCTTCTGCTTG
NextFlex96R60 | /5phos/GATCGGAAGAGCACACGTCTGAACTCCAGTCACTAGGATGAATCTCGTATGCCGTCTTCTGCTTG
NextFlex96R61 | /5phos/GATCGGAAGAGCACACGTCTGAACTCCAGTCACTATCAGCAATCTCGTATGCCGTCTTCTGCTTG
NextFlex96R62 | /5phos/GATCGGAAGAGCACACGTCTGAACTCCAGTCACTCCGTCTAATCTCGTATGCCGTCTTCTGCTTG
NextFlex96R63 | /5phos/GATCGGAAGAGCACACGTCTGAACTCCAGTCACTCTTCACAATCTCGTATGCCGTCTTCTGCTTG
NextFlex96R64 | /5phos/GATCGGAAGAGCACACGTCTGAACTCCAGTCACTGAAGAGAATCTCGTATGCCGTCTTCTGCTTG
NextFlex96R65 | /5phos/GATCGGAAGAGCACACGTCTGAACTCCAGTCACTGGAACAAATCTCGTATGCCGTCTTCTGCTTG
NextFlex96R66 | /5phos/GATCGGAAGAGCACACGTCTGAACTCCAGTCACTGGCTTCAATCTCGTATGCCGTCTTCTGCTTG
NextFlex96R67 | /5phos/GATCGGAAGAGCACACGTCTGAACTCCAGTCACTGGTGGTAATCTCGTATGCCGTCTTCTGCTTG
NextFlex96R68 | /5phos/GATCGGAAGAGCACACGTCTGAACTCCAGTCACTTCACGCAATCTCGTATGCCGTCTTCTGCTTG
NextFlex96R69 | /5phos/GATCGGAAGAGCACACGTCTGAACTCCAGTCACAACTCACCATCTCGTATGCCGTCTTCTGCTTG
NextFlex96R70 | /5phos/GATCGGAAGAGCACACGTCTGAACTCCAGTCACAAGAGATCATCTCGTATGCCGTCTTCTGCTTG
NextFlex96R71 | /5phos/GATCGGAAGAGCACACGTCTGAACTCCAGTCACAAGGACACATCTCGTATGCCGTCTTCTGCTTG
NextFlex96R72 | /5phos/GATCGGAAGAGCACACGTCTGAACTCCAGTCACAATCCGTCATCTCGTATGCCGTCTTCTGCTTG
NextFlex96R73 | /5phos/GATCGGAAGAGCACACGTCTGAACTCCAGTCACAATGTTGCATCTCGTATGCCGTCTTCTGCTTG
NextFlex96R74 | /5phos/GATCGGAAGAGCACACGTCTGAACTCCAGTCACACACGACCATCTCGTATGCCGTCTTCTGCTTG
NextFlex96R75 | /5phos/GATCGGAAGAGCACACGTCTGAACTCCAGTCACACAGATTCATCTCGTATGCCGTCTTCTGCTTG
NextFlex96R76 | /5phos/GATCGGAAGAGCACACGTCTGAACTCCAGTCACAGATGTACATCTCGTATGCCGTCTTCTGCTTG
NextFlex96R77 | /5phos/GATCGGAAGAGCACACGTCTGAACTCCAGTCACAGCACCTCATCTCGTATGCCGTCTTCTGCTTG
NextFlex96R78 | /5phos/GATCGGAAGAGCACACGTCTGAACTCCAGTCACAGCCATGCATCTCGTATGCCGTCTTCTGCTTG
NextFlex96R79 | /5phos/GATCGGAAGAGCACACGTCTGAACTCCAGTCACAGGCTAACATCTCGTATGCCGTCTTCTGCTTG
NextFlex96R80 | /5phos/GATCGGAAGAGCACACGTCTGAACTCCAGTCACATAGCGACATCTCGTATGCCGTCTTCTGCTTG
NextFlex96R81 | /5phos/GATCGGAAGAGCACACGTCTGAACTCCAGTCACATCATTCCATCTCGTATGCCGTCTTCTGCTTG
NextFlex96R82 | /5phos/GATCGGAAGAGCACACGTCTGAACTCCAGTCACATTGGCTCATCTCGTATGCCGTCTTCTGCTTG
NextFlex96R83 | /5phos/GATCGGAAGAGCACACGTCTGAACTCCAGTCACCAAGGAGCATCTCGTATGCCGTCTTCTGCTTG
NextFlex96R84 | /5phos/GATCGGAAGAGCACACGTCTGAACTCCAGTCACCACCTTACATCTCGTATGCCGTCTTCTGCTTG
NextFlex96R85 | /5phos/GATCGGAAGAGCACACGTCTGAACTCCAGTCACCCATCCTCATCTCGTATGCCGTCTTCTGCTTG
NextFlex96R86 | /5phos/GATCGGAAGAGCACACGTCTGAACTCCAGTCACCCGACAACATCTCGTATGCCGTCTTCTGCTTG
NextFlex96R87 | /5phos/GATCGGAAGAGCACACGTCTGAACTCCAGTCACCCTAATCCATCTCGTATGCCGTCTTCTGCTTG
NextFlex96R88 | /5phos/GATCGGAAGAGCACACGTCTGAACTCCAGTCACCCTCTATCATCTCGTATGCCGTCTTCTGCTTG
NextFlex96R89 | /5phos/GATCGGAAGAGCACACGTCTGAACTCCAGTCACCGACACACATCTCGTATGCCGTCTTCTGCTTG
NextFlex96R90 | /5phos/GATCGGAAGAGCACACGTCTGAACTCCAGTCACCGGATTGCATCTCGTATGCCGTCTTCTGCTTG
NextFlex96R91 | /5phos/GATCGGAAGAGCACACGTCTGAACTCCAGTCACCTAAGGTCATCTCGTATGCCGTCTTCTGCTTG
NextFlex96R92 | /5phos/GATCGGAAGAGCACACGTCTGAACTCCAGTCACGAACAGGCATCTCGTATGCCGTCTTCTGCTTG
NextFlex96R93 | /5phos/GATCGGAAGAGCACACGTCTGAACTCCAGTCACGACAGTGCATCTCGTATGCCGTCTTCTGCTTG
NextFlex96R94 | /5phos/GATCGGAAGAGCACACGTCTGAACTCCAGTCACGAGTTAGCATCTCGTATGCCGTCTTCTGCTTG
NextFlex96R95 | /5phos/GATCGGAAGAGCACACGTCTGAACTCCAGTCACGATGAATCATCTCGTATGCCGTCTTCTGCTTG
NextFlex96R96 | /5phos/GATCGGAAGAGCACACGTCTGAACTCCAGTCACGCCAAGACATCTCGTATGCCGTCTTCTGCTTG

## SmartSeq2
SmartSeq2 Protocol
Reference: Picelli et al., Nature Protocols, Jan 2014 (Karolinska Institutet)
|  |  |  | Reduction: | 4
Stage | Action | Reagent | Abbr | Manual (µL) | Echo (µL) | Echo 525 Fluid Type | Notes
Preparing workbench | Clean the hood with RNaseZap and DNA-OFF solutions before setting up the working plates. Spray pipettes with RNaseZap. | [5 empty] | CRITICAL STEP All the experiments must be performed under a UV-sterilized hood with laminar flow, and all the surfaces must be free from RNase to prevent degradation of RNA and from DNA to prevent cross-contamination from previous samples. The hood must be used only for single-cell experiments up to (but excluding) the cDNA amplification step (Step 12). An ideal scenario would be to place the hood in a separate room with a positive air pressure to prevent any contaminants from being carried inside, where they might affect the experiments. The room should be equipped with a garmenting area in which the user changes into a fresh disposable lab coat, hair net, dust mask, shoe covers and vinyl gloves (powder-free).
Single-cell sorting and lysis | Transfer to PCR Plate | Master Mix: |  | 4 | 1 | 384PP_AQ_SP_High; 384PP_Plus_AQ_SP can work but may not be as good | Single cells can be obtained either by using a micro capillary pipette or via FACS.
|  | oligo-dT30VN primer (10 µM) | oligo-dT primers | 1 | 0.25 | BP
|  | RNase inhibitor (0.05X) in 0.2% (vol/vol) Triton X-100 | Cell lysis buffer | 2 | 0.5 | GPSA
|  | dNTP mix | dNTPs | 1 | 0.25 | BP
| Sort/transfer* | single cells/RNA |  | 0.3 | 0.3 | GP | *The Echo can be used to transfer RNA without issue. For cells, the Echo has no sorting ability and no guarantee of 1 cell per well beyond the Poisson distribution. Often method development is required to find the right concentration and condition for single cells transferred with the Echo.
| Seal, vortex, and centrifuge 700g, RT, 10 s |  | Total | 4.3 | 1.3
| Incubate the samples at 72 °C for 3 min and immediately put the tube back on ice. | [5 empty] | CRITICAL STEP Use a thermal cycler with a heated lid set to 105 °C for all incubations throughout this protocol.
| Seal, vortex, and centrifuge 700g, RT, 10 s and immediately put the plate back on ice. | [5 empty] | The oligo-dT primer is now hybridized to the poly(A) tail of all the mRNA molecules.
Reverse transcription | CRITICAL STEP Thaw all the reagents in advance and assemble the RT mix while performing denaturation (Step 7) to minimize bias.
| Transfer* | Master Mix: |  | 5.7 | 1.425 | 384PP_Plus_AQ_GP or 384PP_AQ_BP, maybe 384PP_Plus_AQ_BP and 6RES_AQ_BP
|  | RNAse inhibitor (40 U/µL; in 50% glycerol) |  | 0.25 | 0.0625 | GP | CRITICAL STEP The addition of MnCl2 to improve the template-switching efficiency is not necessary26. It actually decreases the final yield of cDNA and causes misincorporation during RT
|  | Nuclease-free water | H2O | 0.29 | 0.0725 | BP
|  | SuperScript II first-strand buffer (5X) | FSB | 2 | 0.5 | BP
|  | DTT (100 mM) |  | 0.5 | 0.125 | BP | *If performing manually, make a mastermix. For Echo-based prep, a mastermix can be made and added, or each component can be added indivudally in the order shown
|  | Betaine (5 M) |  | 2 | 0.5 | SP ?
|  | MgCl2 (1 M) |  | 0.06 | 0.015 | BP
|  | Template-switching oligo (100 µM) | TSO | 0.1 | 0.025 | BP
|  | SuperScript II reverse transcriptase (200 U/µL; in 50% gycerol) |  | 0.5 | 0.125 | GP
| Seal, vortex, and centrifuge 700g, RT, 10 s |  | Total | 10 | 2.725
| Thermocycle | 42 C for 90 min |  |  |  |  | RT and template switching
|  | 11 cycles: |  |  |  |  | *Note that the ten cycles after the initial incubation at 42 °C for 90 min are not crucial for a successful reaction, but they give a marginal increment in yield.
|  | 50 C for 2 min |  |  |  |  | Unfolding of RNA secondary structures
|  | 42 C for 2 min |  |  |  |  | Completion/continuation of RT and template-switching
|  | 70 C for 15 min |  |  |  |  | Enzyme inactivation
|  | Hold at 4 C |  |  |  |  | Safe storage
PCR preamplification | Transfer | Master Mix: |  | 15 | 3.75 | 384PP_AQ_SP or 384PP_Plus_AQ_SP, should test 6RES_AQ_GPSB2 | *If performing manually, make a mastermix. For Echo-based prep, a mastermix can be made and added or each component can be added indivudally in the order shown
|  | Nuclease-free water |  | 2.25 | 0.5625 | BP
|  | IS PCR primers (10 µM) |  | 0.25 | 0.0625 | BP
|  | KAPA HiFi HotStart ReadyMix (2X) |  | 12.5 | 3.125 | SP
| Seal, vortex, and centrifuge 700g, RT, 10 s |  | Total | 25 | 6.475
| Thermocycle | 98 C for 3 min |  |  | 0.325 |  | CRITICAL STEP The number of PCR cycles depends on the input amount of RNA. We typically use 18 cycles for single eukaryotic cells to obtain ~1–30 ng of amplified cDNA. The number of cycles can be increased for smaller cells (with less RNA content) or lowered for large cells (with more RNA).
19 cycles:
98 C for 20 s
67 C for 15 s
72 C for 6 min
72 C for 5 min
Hold at 4 C
PAUSE POINT: PCR product can be stored at −20 or −80 °C for 6 months or longer.
Clean-up | Transfer | GE ExoProStar (ExoSap) |  | 1.25 | 0.325 | 384PP_Plus_AQ_GP (likely 6RES_AQ_BP)
37 C for 10 min
80 C for 10 min
Quality check of the cDNA library | Qubit-8
NGS Library Prep | See Kapa HyperPlus Tab for remainder of protocol
124.8

## SMARTSeq-KAPA HyperPlus
Reference: KAPA HyperPlus manual and customer feedback (Kapa product #KK8504)
|  |  |  | Reduction: | 5
Stage | Action | Reagent | Abbr | Manual (µL) | Echo (µL) | Fluid Type (525) | Notes
Dilute DNA* | Defrost [reagents] from -20 C to ice, mix and spin |  | genomic DNA concentration (ng/µL): | 0.2 | 0.2
| If DNA samples contain EDTA (e.g. TE buffer): add frag conditioning solution |  |  | 7 ng | 1.4 ng
| TBD |  | Total | 50 | 10 |  | *Can be done with Echo (not detailed here)
Enzymatic Fragmentation | Transfer (on ice*) to PCR plate | genomic DNA | gDNA | 35 | 7 | BP
|  | Kapa Frag Buffer (can be premixed with KFE) | KFB | 5 | 1 | BP | Dispenses from the 384PP_AQ_SP well also, but doesn’t error at low source fill volume. 6RES_AQ_GPSB not perfect but works.
|  | Kapa Frag Enzyme (can be premixed with KFB) | KFE | 10 | 2 | 384PP_Plus_AQ_SP
Seal, vortex, and centrifuge 280g, 4 C, 1 min
Shake plate for 30s, and then spin 1 min
| Thermocycle: precooled to 4C, non-heated lid, if used <50 C | Omit: 37 C for X min; X= 5 for 600 bp fragments, 10 for 350, 20 for 200, 30 for 150; Timing should/can be optimized around each point, see TDS
RT for 15 min
Hold at 4 C* or immediately proceed to next step
End Repair and A-tailing | Transfer | gDNA + enzymes | Samples | 50 | 10 |  | *Not actually transferred, already present
|  | End Repair & A-Tailing Buffer* | ERATB | 7 | 1.4 | Mix was 384LDV_Plus_AQ_SP. Likely not perfect but 6RES_AQ_GPSB2 | The buffer and enzyme mix should preferably be pre-mixed and added in a single pipetting step. Premixes are stable for ≤24 hours at room temperature, for ≤1 week at 4 °C, and for ≤3 months at -20 °C.
|  | End Repair & A-Tailing Enzyme Mix* | ERATE | 3 | 0.6
| Seal, vortex, and centrifuge 280g, 4 C, 1 min |  | Total | 60 | 12
Shake plate for 30s, and then spin 1 min
| Thermocycle: heated lid, ~85 C | 65 C for 30 min
Hold at 4 C, if immediately proceeding to next step, cool only to 20 C
Adapter Ligation | Dilute adapter stocks to the appropriate concentration
| Transfer | End repair and A-tailing product | Samples | 60 | 12 |  | *Not actually transferred, already present
|  | Adapter Stock* (one concentration per sample): |  |  |  |  | * The water, buffer and ligase enzyme should preferably be premixed and added in a single pipetting step. Premixes are stable for ≤24 hours at room temperature, for ≤1 week at 4°C, and for ≤3 months at -20°C. (GP2 for premix)
|  | 1:200 Adapter (100 µM Stock) | 1:200 Adapter | 5 | 0.75 | Mix was 384PP_Plus_AQ_SP. Likely not perfect but 6RES_AQ_GPSB2
|  | PCR grade water |  | 5
|  | Ligation Buffer | LB | 30 | 6 |  |  | #REF!
|  | DNA ligase | DL | 10 | 2 |  | Note: to achieve higher conversion rates and library yields, particularly for low-input samples, consider increasing the ligation time, to a maximum of 4 h at 20°C, or overnight at 4°C. Please note that longer ligation times may lead to increased levels of adapter-dimer. Adapter concentrations may have to be optimized if ligation times are extended significantly.
| Seal, vortex, and centrifuge 280g, 4 C, 1 min |  | Total | 105 | 20.75
20 C for 15 min
Hold at 4 C, ON
Bead Clean-Up/Size select | Defrost AMPure XP beads 4 C to RT | [5 empty] | *not transferred with Echo, suggested given with reduced volumes above
centrifuge samples 280g, 20 C, 1 min
Resuspend AMPure XP beads
|  | AMPure XP beads | SPRI beads | 88 |  | GPSA (not recommended)
Pipette up and down 10x
Incubate 5-15 min at RT
Set on magnet for 2 min
Remove and discard supernatant
| Add ethanol | Ethanol | EtOH | 200 |  | NA
Set on magnet for 30 s
Remove and discard supernatant
| Add ethanol | Ethanol | EtOH | 200 |  | NA
Set on magnet for 30 s
Remove and discard supernatant
Allow to air-dry for 3-5 min to remove EtOH; do not overdry
Remove from magnetic stand
| Elute | Elution Buffer (10 mM Tris-HCl, pH 8.0 – 8.5) | EB | 25 |  | NA
Shake at 1800 rpm for 2 min, or 10x pipette mix
Incubate 2 min at RT
Set on magnet for 2 min, and collect supernatant
Pool
Library Amplification | Defrost reagents
| Transfer | 2X KAPA HiFi HotStart ReadyMix | MM | 25 |  | 384PP_AQ_SP_High
|  | 10X KAPA Library Amplification Primer Mix (or other MM + nprimers (0.5-4 µM) | APM | 5 |  | 384PP_AQ_BP
|  | Adapter-ligated library | Samples | 20 |  | 384PP_AQ_BP
|  | quantitative controls | Controls | 20 |  | 384PP_AQ_SP_High
| Seal, vortex, and centrifuge 280g, 4 C, 1 min |  | Total | 70 | 0
| Thermocycle | 98 C for 45 s (initial denaturation)
11, 15, or 19 cycles:
98 for 15 s
60 C for 30 s
72 C for 30 s
72 C for 1 min
Hold at 4 C
Store the plate/tube(s) at 4°C or -20°C for up to 72 hours, or proceed directly to Step 6: Postamplification Cleanup.
Bead Clean-Up/Size select | Defrost AMPure XP beads 4 C to RT
centrifuge samples 280g, 20 C, 1 min
Resuspend AMPure XP beads
|  | AMPure XP beads | SPRI beads | 50 |  | GPSA (not recommended)
Pipette up and down 10x
Incubate 5-15 min at RT
Set on magnet for 2 min
Remove and discard supernatant
| Add ethanol | Ethanol | EtOH | 200 |  | NA
Set on magnet for 30 s
Remove and discard supernatant
| Add ethanol | Ethanol | EtOH | 200 |  | NA
Set on magnet for 30 s
Remove and discard supernatant
Allow to air-dry for 3-5 min to remove EtOH; do not overdry
| Remove from magnetic stand | [5 empty] | *not transferred with Echo, recommended with reduced volumes above
| Elute | Elution Buffer (10 mM Tris-HCl, pH 8.0 – 8.5) | EB | TBD | 8-10* | NA
Shake at 1800 rpm for 2 min, or 10x pipette mix
| Incubate 2 min at RT | Tapestation quantification
Set on magnet for 2 min
Collect supernatant into new plate

## SmartSeq4 (hidden)
SmartSeq4 Protocol
Reference: Clontech Manual
|  |  |  | Reduction: | 4
Stage | Action | Reagent | Abbr | Manual (µL) | Echo (µL) | Echo 55X Fluid Type | Echo 525 Fluid Type | Notes
Preparing workbench | Clean the hood with RNaseZap and DNA-OFF solutions before setting up the working plates. Spray pipettes with RNaseZap. | [6 empty] | CRITICAL STEP All the experiments must be performed under a UV-sterilized hood with laminar flow, and all the surfaces must be free from RNase to prevent degradation of RNA and from DNA to prevent cross-contamination from previous samples. The hood must be used only for single-cell experiments up to (but excluding) the cDNA amplification step (Step 12). An ideal scenario would be to place the hood in a separate room with a positive air pressure to prevent any contaminants from being carried inside, where they might affect the experiments. The room should be equipped with a garmenting area in which the user changes into a fresh disposable lab coat, hair net, dust mask, shoe covers and vinyl gloves (powder-free).
Single-cell sorting and lysis | Thaw the 5X Ultra Low First-Strand Buffer at room temperature, and all the remaining reagents needed for first-strand cDNA synthesis (except the enzyme) on ice.* | [6 empty] | *All reagents will need to be at RT before transferring on the Echo.
| Transfer to PCR Plate | 10X Reaction Buffer | RB | 1 | 0.25 |  |  | Single cells can be obtained either by using a micro capillary pipette or via FACS.
|  | Nuclease-free water |  | 9 | 1.75
| Sort/transfer* | single cells/RNA |  | 0.5 | 0.5 |  |  | *The Echo can be used to transfer RNA without issue. For cells, the Echo has no sorting ability and no guarantee of 1 cell per well beyond the Poisson distribution. Often method development is required to find the right concentration and condition for single cells transferred with the Echo.
| Seal, vortex, and centrifuge 700g, RT, 10 s |  | Total | 10.5 | 2.5
| Incubate the samples at RT for 5 min | [6 empty] | CRITICAL STEP Use a thermal cycler with a heated lid set to 105 °C for all incubations throughout this protocol.
| Seal, vortex, and centrifuge 700g, RT, 10 s and immediately put the plate back on ice. | [6 empty] | The oligo-dT primer is now hybridized to the poly(A) tail of all the mRNA molecules.
First-Strand cDNA Synthesis | CRITICAL STEP Thaw all the reagents in advance and assemble the RT mix while performing denaturation (Step 7) to minimize bias.
| Transfer* | 3’ SMART-Seq CDS Primer II A (12 μM) |  | 2 | 0.5 |  | GPSA | **If you are performing 17 or more PCR cycles (see Table 2 for PCR cycling guidelines), use 1 μl of the 3’ SMART-Seq CDS Primer II A
| Seal, vortex, and centrifuge 700g, RT, 10 s |  | Total | 12.5 | 3 |  | BP
| Incubate the tubes at 72°C in a preheated, hot-lid thermal cycler for 3 minutes, then set on ice for 2 min and proceed immediately to the next step | [5 empty] | SP | NOTE: Prepare your Master Mix while your tubes are incubating. The enzyme will be added just before use. | Steps 10–11 below are critical for first-strand cDNA synthesis and should not be delayed after completing Step 7.
|  | Master Mix: |  | 7.5 | 1.875 |  | BP | *If performing manually, make a mastermix. For Echo-based prep, a mastermix can be made and added, or each component can be added indivudally in the order shown | 6. Prepare enough Master Mix for all the reactions, plus 10% of the total reaction mix volume, by combining the following reagents in the order shown at room temperature:
|  | 5X Ultra Low First-Strand Buffer | FSB | 4 | 1
|  | SMART-Seq v4 Oligonucleotide (48 µM) |  | 1 | 0.25 |  |  | Add the reverse transcriptase to the Master Mix just prior to use, making sure to gently mix the reverse transcriptase tube without vortexing before adding it. NOTE: Mix the Master Mix well by gently vortexing and then spin the tube(s) briefly in a minicentrifuge to collect the contents at the bottom of the tube.
|  | RNase Inhibitor (40 U/µL) |  | 0.5 | 0.125
|  | SMARTScribe Reverse Transcriptase |  | 2 | 0.5
| Seal, vortex, and centrifuge 700g, RT, 10 s |  | Total | 20 | 4.875 | SP2 | SP_High | 8. Preheat the thermal cycler to 42°C.
| Thermocycle | 42 C for 90 min | [5 empty] | RT and template switching
|  | 70 C for 10 min | [5 empty] | Enzyme inactivation
|  | Hold at 4 C | [5 empty] | Safe storage
STOPPING POINT: The tubes can be stored at 4°C overnight.
PCR preamplification | Thaw all the reagents needed for PCR (except the enzyme) on ice. Gently vortex each reagent tube to mix and spin down briefly. Store on ice. | [6 empty] | *All reagents will need to be at RT before transferring on the Echo.
| Transfer | Master Mix: |  | 30 | 7.5 | SP2 | SP_High | *If performing manually, make a mastermix. For Echo-based prep, a mastermix can be made and added, or each component can be added indivudally in the order shown
|  | Nuclease-free water |  | 3 | 0.75 | BP2 | BP
|  | SeqAmp PCR Buffer (2X) |  | 25 | 6.25 | SP2 | SPHigh
|  | PCR Primer II A (12 µM) |  | 1 | 0.25 | BP2 | BP
|  | SeqAmp DNA Polymerase |  | 1 | 0.25 | GP2 | GP | Note: Add to the Master Mix just before use
| Seal, vortex, and centrifuge 700g, RT, 10 s |  | Total | 50 | 12.375
| Thermocycle | 95 C for 1 min
X cycles:
98 C for 10 s
65 C for 30 s
68 C for 3 min
72 C for 10 min
Hold at 4 C
STOPPING POINT: The tubes can be stored at 4°C overnight.
Pre-cleanup prep | Transfer | 10X Reaction Buffer |  | 1 | 0.25
Bead Clean-Up/Size select | Defrost RSB from -20 C to RT, and AMPure XP beads 4 C to RT
centrifuge samples 280g, 20 C, 1 min
Resuspend AMPure XP beads
|  | AMPure XP beads | SPRI beads | 50 | 12.375 | GP2* | GPSA* | *not typically transferred with Echo, recommended with reduced volumes above
Pipette up and down 10x
Incubate 5 min at RT
Set on magnet for 2 min
Remove and discard supernatant
| Add ethanol | Ethanol | EtOH | 200 | NA
Set on magnet for 30 s
Remove and discard supernatant
| Add ethanol | Ethanol | EtOH | 200 | NA
Set on magnet for 30 s
Remove and discard supernatant
Allow to air-dry for 15 min to remove EtOH
Remove from magnetic stand
| Elute | Elution Buffer | EB | 17.5 | 10 (20 for Echo 525) | BP2* | BP | *not transferred with Echo, recommended with reduced volumes above
Shake at 1800 rpm for 2 min, or 10x pipette mix
Incubate 2 min at RT
| Set on magnet for 2 min and collect |  |  | 15 | 8 | BP2* | BP | *not transferred with Echo, recommended with reduced volumes above
Quality check of the cDNA library | Check the size distribution on an Agilent high-sensitivity DNA chip. A good library should be free of short (<500 bp) fragments and should show a peak at ~1.5–2 kb.
NGS Library Prep | See Nextera XT Tab for remainder of protocol

## Density-Histodenz (hidden)
Percent (w/v) | Molarity | Density (g/mL, 20 C) | Refractive Index (20 C) | Viscosity (cP at 20 C) | Osmolality (mOsm)
0 | 0 | 0.999 | 1.333 | 1 | 0
10 | 0.122 | 1.052 | 1.3494 | 1.3 | 112
20 | 0.244 | 1.105 | 1.3659 | 1.5 | 211
30 | 0.365 | 1.159 | 1.3824 | 1.8 | 299
40 | 0.487 | 1.212 | 1.3988 | 3.2 | 388
50 | 0.609 | 1.265 | 1.4153 | 5.3 | 485
60 | 0.731 | 1.319 | 1.4318 | 9.5 | 595
70 | 0.853 | 1.372 | 1.4482 | 17.2 | 1045
80 | 0.97 | 1.426 | 1.4647 | 30 | -
Percent (w/v) | Molarity | Density (g/mL, 20 C)
80 | 0.9767 | 1.4226
9.9426 | 0.122 | 1.0513
13.4717 | 0.16505 | 1.07

## Density-Glycerol (hidden)
Percent (w/v) | Molarity | Density (g/mL, 20 C) | 92.09382 g/mol
0 | 0 | 0.99823
10 | 0.10858 | 1.0221 | 0.10858
20 | 0.21717 | 1.0469
30 | 0.32575 | 1.0727
40 | 0.43434 | 1.0993
50 | 0.54292 | 1.1263
60 | 0.65151 | 1.1538
70 | 0.76009 | 1.1812
80 | 0.86868 | 1.2085
Percent (w/v) | Molarity | Density (g/mL, 20 C)
50 | 0.545 | 1.1253
11.1927 | 0.122 | 1.0244
13.4717 | 0.16505 | 1.07

## Single-Cell Poisson Helper (hidden)
|  |  |  | #Experiments | 1
|  |  |  | #Wells | 1536
|  |  |  | Prob limit: | 0.0651% | Threshold for ~<1 well with 2+ cells per 1 experiments. All lambda wells with probabilities below this threshold can be considered insignificant.
Lambda
| 0.1 | 0.1 | 0.2 | 0.3 | 0.4 | 0.5 | 0.6 | 0.7 | 0.8 | 0.9 | 1 | 1.1 | 1.2 | 1.3 | 1.4 | 1.5 | 1.6 | 1.7 | 1.8 | 1.9 | 2 | 2.1 | 2.2 | 2.3 | 2.4 | 2.5 | 2.6 | 2.7 | 2.8 | 2.9 | 3 | 5 | 6 | 7 | 8 | 9 | 10
0 | 90.48% | 90.48% | 81.87% | 74.08% | 67.03% | 60.65% | 54.88% | 49.66% | 44.93% | 40.66% | 36.79% | 33.29% | 30.12% | 27.25% | 24.66% | 22.31% | 20.19% | 18.27% | 16.53% | 14.96% | 13.53% | 12.25% | 11.08% | 10.03% | 9.072% | 8.208% | 7.427% | 6.721% | 6.081% | 5.502% | 4.979% | 0.6738% | 0.2479% | 0.09119% | 0.03355% | 0.01234% | 0.00454%
1 | 9.048% | 9.048% | 16.37% | 22.22% | 26.81% | 30.33% | 32.93% | 34.76% | 35.95% | 36.59% | 36.79% | 36.62% | 36.14% | 35.43% | 34.52% | 33.47% | 32.3% | 31.06% | 29.75% | 28.42% | 27.07% | 25.72% | 24.38% | 23.06% | 21.77% | 20.52% | 19.31% | 18.15% | 17.03% | 15.96% | 14.94% | 3.369% | 1.487% | 0.6383% | 0.2684% | 0.1111% | 0.0454%
2 | 0.4524% | 0.4524% | 1.637% | 3.334% | 5.363% | 7.582% | 9.879% | 12.17% | 14.38% | 16.47% | 18.39% | 20.14% | 21.69% | 23.03% | 24.17% | 25.1% | 25.84% | 26.4% | 26.78% | 27% | 27.07% | 27% | 26.81% | 26.52% | 26.13% | 25.65% | 25.1% | 24.5% | 23.84% | 23.14% | 22.4% | 8.422% | 4.462% | 2.234% | 1.073% | 0.4998% | 0.227%
3 | 0.01508% | 0.01508% | 0.1092% | 0.3334% | 0.715% | 1.264% | 1.976% | 2.839% | 3.834% | 4.94% | 6.131% | 7.384% | 8.674% | 9.979% | 11.28% | 12.55% | 13.78% | 14.96% | 16.07% | 17.1% | 18.04% | 18.9% | 19.66% | 20.33% | 20.9% | 21.38% | 21.76% | 22.05% | 22.25% | 22.37% | 22.4% | 14.04% | 8.924% | 5.213% | 2.863% | 1.499% | 0.7567%
4 | 0.000377% | 0.000377% | 0.005458% | 0.025% | 0.0715% | 0.158% | 0.2964% | 0.4968% | 0.7669% | 1.111% | 1.533% | 2.031% | 2.602% | 3.243% | 3.947% | 4.707% | 5.513% | 6.357% | 7.23% | 8.122% | 9.022% | 9.923% | 10.82% | 11.69% | 12.54% | 13.36% | 14.14% | 14.88% | 15.57% | 16.22% | 16.8% | 17.55% | 13.39% | 9.123% | 5.725% | 3.374% | 1.892%
5 | 7.54e-06% | 7.54e-06% | 0.0002183% | 0.0015% | 0.00572% | 0.0158% | 0.03556% | 0.06955% | 0.1227% | 0.2001% | 0.3066% | 0.4467% | 0.6246% | 0.8432% | 1.105% | 1.412% | 1.764% | 2.162% | 2.603% | 3.086% | 3.609% | 4.168% | 4.759% | 5.378% | 6.02% | 6.68% | 7.354% | 8.036% | 8.721% | 9.405% | 10.08% | 17.55% | 16.06% | 12.77% | 9.16% | 6.073% | 3.783%
6 | 1.257e-07% | 1.257e-07% | 7.278e-06% | 7.501e-05% | 0.0003813% | 0.001316% | 0.003556% | 0.008114% | 0.01636% | 0.03001% | 0.05109% | 0.0819% | 0.1249% | 0.1827% | 0.2579% | 0.353% | 0.4705% | 0.6124% | 0.7809% | 0.9773% | 1.203% | 1.459% | 1.745% | 2.061% | 2.408% | 2.783% | 3.187% | 3.616% | 4.07% | 4.546% | 5.041% | 14.62% | 16.06% | 14.9% | 12.21% | 9.109% | 6.306%
7 | 1.795e-09% | 1.795e-09% | 2.079e-07% | 3.215e-06% | 2.179e-05% | 9.402e-05% | 0.0003048% | 0.0008114% | 0.00187% | 0.003858% | 0.007299% | 0.01287% | 0.02141% | 0.03393% | 0.05158% | 0.07564% | 0.1075% | 0.1487% | 0.2008% | 0.2653% | 0.3437% | 0.4376% | 0.5484% | 0.6773% | 0.8255% | 0.9941% | 1.184% | 1.395% | 1.628% | 1.883% | 2.16% | 10.44% | 13.77% | 14.9% | 13.96% | 11.71% | 9.008%
8 | 2.244e-11% | 2.244e-11% | 5.198e-09% | 1.205e-07% | 1.09e-06% | 5.876e-06% | 2.286e-05% | 7.1e-05% | 0.000187% | 0.0004341% | 0.0009124% | 0.00177% | 0.003212% | 0.005514% | 0.009026% | 0.01418% | 0.02151% | 0.03161% | 0.04518% | 0.063% | 0.08593% | 0.1149% | 0.1508% | 0.1947% | 0.2477% | 0.3106% | 0.3847% | 0.4708% | 0.5698% | 0.6827% | 0.8102% | 6.528% | 10.33% | 13.04% | 13.96% | 13.18% | 11.26%
9 | 2.493e-13% | 2.493e-13% | 1.155e-10% | 4.018e-09% | 4.842e-08% | 3.265e-07% | 1.524e-06% | 5.522e-06% | 1.662e-05% | 4.341e-05% | 0.0001014% | 0.0002163% | 0.0004283% | 0.0007964% | 0.001404% | 0.002364% | 0.003823% | 0.00597% | 0.009036% | 0.0133% | 0.01909% | 0.0268% | 0.03686% | 0.04976% | 0.06604% | 0.08629% | 0.1111% | 0.1412% | 0.1773% | 0.22% | 0.2701% | 3.627% | 6.884% | 10.14% | 12.41% | 13.18% | 12.51%
10 | 2.493e-15% | 2.493e-15% | 2.31e-12% | 1.205e-10% | 1.937e-09% | 1.632e-08% | 9.145e-08% | 3.866e-07% | 1.33e-06% | 3.907e-06% | 1.014e-05% | 2.379e-05% | 5.139e-05% | 0.0001035% | 0.0001966% | 0.0003546% | 0.0006117% | 0.001015% | 0.001626% | 0.002527% | 0.003819% | 0.005629% | 0.00811% | 0.01145% | 0.01585% | 0.02157% | 0.02889% | 0.03813% | 0.04964% | 0.06379% | 0.08102% | 1.813% | 4.13% | 7.098% | 9.926% | 11.86% | 12.51%
11 | 2.267e-17% | 2.267e-17% | 4.201e-14% | 3.288e-12% | 7.043e-11% | 7.419e-10% | 4.988e-09% | 2.46e-08% | 9.669e-08% | 3.196e-07% | 9.216e-07% | 2.379e-06% | 5.606e-06% | 1.224e-05% | 2.502e-05% | 4.835e-05% | 8.898e-05% | 0.0001568% | 0.0002661% | 0.0004365% | 0.0006944% | 0.001075% | 0.001622% | 0.002393% | 0.003458% | 0.004903% | 0.006829% | 0.009359% | 0.01263% | 0.01682% | 0.0221% | 0.8242% | 2.253% | 4.517% | 7.219% | 9.702% | 11.37%
12 | 1.889e-19% | 1.889e-19% | 7.001e-16% | 8.219e-14% | 2.348e-12% | 3.091e-11% | 2.494e-10% | 1.435e-09% | 6.446e-09% | 2.397e-08% | 7.68e-08% | 2.181e-07% | 5.606e-07% | 1.326e-06% | 2.919e-06% | 6.044e-06% | 1.186e-05% | 2.222e-05% | 3.992e-05% | 6.911e-05% | 0.0001157% | 0.0001881% | 0.0002974% | 0.0004587% | 0.0006917% | 0.001021% | 0.00148% | 0.002106% | 0.002948% | 0.004064% | 0.005524% | 0.3434% | 1.126% | 2.635% | 4.813% | 7.277% | 9.478%
Sum events >2 | 0.01547% | 0.01547% | 0.1148% | 0.3599% | 0.7926% | 1.439% | 2.312% | 3.414% | 4.742% | 6.286% | 8.03% | 9.958% | 12.05% | 14.29% | 16.65% | 19.12% | 21.66% | 24.28% | 26.94% | 29.63% | 32.33% | 35.04% | 37.73% | 40.4% | 43.03% | 45.62% | 48.16% | 50.64% | 53.05% | 55.4% | 57.68% | 87.33% | 92.92% | 94.34% | 92.24% | 86.95% | 78.88%
Difference | -90.47% | -90.47% | -81.76% | -73.72% | -66.24% | -59.21% | -52.57% | -46.24% | -40.19% | -34.37% | -28.76% | -23.33% | -18.07% | -12.96% | -8.009% | -3.198% | 1.474% | 6.009% | 10.41% | 14.67% | 18.8% | 22.79% | 26.65% | 30.37% | 33.96% | 37.41% | 40.73% | 43.92% | 46.97% | 49.9% | 52.7% | 86.66% | 92.67% | 94.25% | 92.21% | 86.94% | 78.87%
Black = okay, Green = probabilistically okay, Red = probabilistically problematic
From Wikipedia:
In probability theory and statistics, the Poisson distribution is a discrete probability distribution that expresses the probability of a given number of events occurring in a fixed interval of time and/or space if these events occur with a constant rate per time unit and independently of the time since the last event.
The Poisson distribution can also be used for the number of events in other specified intervals such as distance, area or volume.
For further learning: https://www.khanacademy.org/math/probability/random-variables-topic/poisson_process/v/poisson-process-1 or http://math.wikia.com/wiki/Poisson_distribution
Essentially, the Poisson distribution is a special case of the binomial distribution for
countable objects where the number of trials is large, but the probability of a ‘success’
in any given trial is low. The further the expected value increases away from zero, the more closely the Poisson and binomial distributions are similar.
In our cell transfer work, since we are aiming for single/low cell numbers, we expect to observe a Poisson distribution of the cells. Deviation from this distribution would indicate a bias of some kind in the transfer of the cells since a measured interval (in our case volume) is expected to be constant in nature across the period of observation.
λ: the ‘expected value’, typically mean of the population
Note on G2: Austin Swafford: Set the number of experiments
Note on G3: Austin Swafford: Set the number of wells in the destination plate
Note on C6: Austin Swafford: Edit this number to update the graph